## Arkusz1
Country | Contact person (company, name, e-mail) | Object name | Object location | Workplace type | Measurement site | Measurement period | Exposure type | Number of objects | Radon: air activity concentration |  |  |  |  | Thoron : air activity concentration |  |  |  | Radon: Short-lived radon progeny | [6 empty] | Radon: Equilibrium factor |  | Thoron: Thoron progeny | [5 empty] | Radon: Evaluation of the annual effective dose | [6 empty] | Thoron: Evaluation of the annual effective dose | [5 empty] | Radioactive aerosols (Based on short -lived radon progeny concentration measurement) | [12 empty] | Ambient aerosols | [16 empty] | Comments
|  | If there is no objection from the owner |  |  | Only for buildings | (date, range, year) |  | if cumulative results are provided | Reference level | Activity concentration |  | Equipment applied | Type of measurement | Activity concentration |  | Equipment applied | Type of measurement | Potential alpha energy concentration |  |  | Unattached fraction |  | Equipment applied | Type of measurement |  |  | Potential alpha energy concentration |  |  | Range | Equipment applied | Type of measurement | Equilibrium factor accepted | Effective dose per exposure |  |  | Annual exposure time | Effective dose |  | Effective dose per exposure |  |  | Annual exposure time | Effective dose |  | Equipment applied | Measurement range | Total concentration | Percentage of total concentration |  |  |  |  | Statistical parameters |  |  |  | Effective dose per exposure (evaluated) | Equipment applied | Measurement range | Total concentration | Percentage of total concentration |  |  |  |  | Statistical parameters (ambient aerosol) |  |  |  | Statistical parameters (radioactive aerosol)
[10 empty] | Average | Range |  |  | Average | Range |  |  | Average | Range | Unit | Average | Range |  |  | Average | Range | Average | Range | Unit |  |  |  | (If radon based assessment) | Value | Unit | Source (e.g. ICRP publication number) | - | Average | Range | Value | Unit | Source (e.g. ICRP publication number) |  | Average | Range |  |  |  | Range1 | Range2 | Range3 | Range4 | Range5 | Geometric mean | Geometric standard deviation | Activity median diameter (AMD) | Activity median aerodynamic diameter (AMAD) |  |  |  |  | 0.005 - 0.1 | 0.1 - 2.5 | 2.5 - 10 | 10 - 20 | - | Geometric mean | Geometric standard deviation | Count median diameter (CMD) | Count median aerodynamic diameter (CMAD) | Geometric mean (evaluated) | Geometric standard deviation | Activity median diameter (AMD) | Activity median aerodynamic diameter (AMAD) | Effective dose per exposure (evaluated)
[9 empty] | (Bq/m3) | (Bq/m3) | (Bq/m3) |  |  | (Bq/m3) | (Bq/m3) | [5 empty] | - | - |  |  | - | - |  |  |  | (µJ/m3) | [6 empty] | (h) | (mSv) | (mSv) | mSv/(mJ/m3×h) |  |  | (h) | (mSv) | (mSv) |  | (µm) | (m-3) | [5 empty] | (µm) | - | (µm) | (µm) | mSv/(mJ/m3×h) |  | (µm) | (m-3) | % | % | % | % | % | (µm) | - | (µm) | (µm) | (µm) | - | (µm) | (µm) | mSv/(mJ/m3×h)
Poland | - | Uranium mine 1 (Uranium, Fluorite) | Underground | Show mine, SPA | - |  | Existing | - | - | 1050 +/- 64 | - | - | - | - | - | - | - | 4.7 ± 0.6 | - | µJ/m3 | 0.09 | - | RPPSS (ARPANSA, Australia) | Grab sampling | 0.8 | - | - | - | - | - | - | - | - | 1.4 | mSv | Polish Regulation of the Council of Ministers, Pol. Law J. 2021:1657 | 1800 | 13.104 | - | - | - | - | - | - | - | Radon Progeny Particle Size Spectrometer (RPPSS) equipped with diffusion screen batteries and impactors | - | - | - | - | - | - | - | - | - |  | - | Mouth breathing (1.2 m3/h): 2.1 (Twomey), 2.3 (Emax); Nose breathing (0.75 m3/h): 1.7 (Twomey), 1.9 (Emax) | APS+SMPS Long (TSI Incorporated, Shoreview, MN, USA) | 0.003 - 20 (Aerodynamic diameter) | 2.3´E+10 | 92 | 8 | <0.01 | <0.001 | - | 0.076 | 1.9 | 0.069 | - |  |  |  |  | Mouth breathing (1.2 m3/h): 3.4; Nose breathing (0.75 m3/h): 2.8
Poland | - | Radioactive waste repository (non-nuclear waste) | Above ground | Radioactive waste repository | - |  | Planned | - | - | - | - | - | - | - | - | - | - | 4.2 ± 0.2 | - | µJ/m3 | 0.28 | - | RPPSS (ARPANSA, Australia) | Grab sampling | - | - | - | - | - | - | - | - | - | 1.4 | mSv | Polish Regulation of the Council of Ministers, Pol. Law J. 2021:1657 | 1800 | 10.836 | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - | - | - |  | - | - | APS+SMPS Long (TSI Incorporated, Shoreview, MN, USA) | 0.003 - 20 (Aerodynamic diameter) | 2.2´E+09 | 88 | 12 | <0.01 | <0.001 | - | 0.025 | 3.1 | 0.046 | -
Poland | - | Jaskinia Niedźwiedzia in Kletno | Underground | Tourist cave | - |  | Existing | - | - | - | - | - | - | - | - | - | - | 4.2 ± 0.2 | - | µJ/m3 | 0.43 | - | RPPSS (ARPANSA, Australia) | Grab sampling | 0.2 (measured) | - | - | - | - | - | - | - | - | 1.4 | mSv | Polish Regulation of the Council of Ministers, Pol. Law J. 2021:1657 | 1800 | 10.836 | - | - | - | - | - | - | - | Radon Progeny Particle Size Spectrometer (RPPSS) equipped with diffusion screen batteries and impactors | - | - | - | - | - | - | - | - | - |  | - | Mouth breathing (1.2 m3/h): 3.1 (Twomey), 3.4 (Emax); Nose breathing (0.75 m3/h): 2.2 (Twomey), 2.4 (Emax) | APS+SMPS Long (TSI Incorporated, Shoreview, MN, USA) | 0.003 - 20 (Aerodynamic diameter) | 4.0´E+07 | 77 | 23 | 0.04 | 0.001 | - | 0.045 | 2.9 | 0.082 | -
Poland | - | Gold mine (Gold, Arsenic) | Underground | Show mine | - |  | Existing | - | - | - | - | - | - | - | - | - | - | 12.3 ± 1.5 | - | µJ/m3 | 0.12 | - | RPPSS (ARPANSA, Australia) | Grab sampling | 0.4 (measured) | - | - | - | - | - | - | - | - | 1.4 | mSv | Polish Regulation of the Council of Ministers, Pol. Law J. 2021:1657 | 1800 | 216.468 | - | - | - | - | - | - | - | Radon Progeny Particle Size Spectrometer (RPPSS) equipped with diffusion screen batteries and impactors | - | - | - | - | - | - | - | - | - |  | - | Mouth breathing (1.2 m3/h): 2.6 (Twomey), 2.8 (Emax); Nose breathing (0.75 m3/h): 1.9 (Twomey), 2.1 (Emax) | APS+SMPS Long (TSI Incorporated, Shoreview, MN, USA) | 0.003 - 20 (Aerodynamic diameter) | 5.0´E+09 | 65 | 35 | <0.01 | <0.001 | - | 0.045 | 3.2 | 0.087 | - |  |  |  |  | Mouth breathing (1.2 m3/h): 4.6 ; Nose breathing (0.75 m3/h): 3.7 | The potential alpha energy concentration was measured far from touristic route in a poor ventilated area
Poland | - | Underground coal mine | Underground | Active mine - Downcast shaft bottom |  |  | Existing | [50 empty] | - | APS+SMPS Long (TSI Incorporated, Shoreview, MN, USA) | 0.003 - 20 (Aerodynamic diameter) | 5.9 (3.9 - 9.7)´E+10 | 88 | 12 | <0.01 | <0.001 |  |  |  | 0.047 | 0.047 |  |  | 0.067 | 0.067 | 6.0 (mouth), 4.7 (nose) | The parameters related to size distribution of the radioactive aerosols were evaluated based on measurements of size distribution of the ambient aerosols
|  |  |  | Active mine - Cross-cut | [56 empty] | 6.0 (5.0 - 8.5)´E+10 | 65 | 35 | 0.02 | <0.001 |  |  |  | 0.07 | 0.085 |  |  | 0.124 | 0.148 | 4.4 (mouth), 3.4 (nose)
|  |  |  | Active mine - Water gallery | [56 empty] | 2.5 (2.4 - 2.8)´E+10 | 71 | 29 | 0.02 | <0.001 |  |  |  | 0.065 | 0.08 |  |  | 0.1 | 0.121 | 4.9 (mouth), 3.7 (nose)
|  |  |  | Active mine - Road head | [56 empty] | 2.1 (1.2 - 5.8)´E+10 | 44 | 55 | 1.23 | 0.005 |  |  |  | 0.115 | 0.139 |  |  | 0.205 | 0.241 | 4.3 (mouth), 2.8 (nose)
|  |  |  | Active mine - Coal face (30 m away) | [56 empty] | 2.6 (1.3 - 6.2)´E+10 | 54 | 45 | 0.95 | 0.003 |  |  |  | 0.087 | 0.105 |  |  | 0.166 | 0.196 | 4.6 (mouth), 3.1 (nose)
|  |  |  | Active mine - Coal face (80 m away) | [56 empty] | 9.6 (1.5 - 32.0)´E+10 | 86 | 14 | 0.08 | <0.001 |  |  |  | 0.014 | 0.018 |  |  | 0.084 | 0.102 | 7.1 (mouth), 5.5 (nose)
|  |  |  | Active mine - Upcast shaft bottom | [56 empty] | 4.0 (1.8 - 6.7)´E+10 | 76 | 24 | 0.01 | <0.001 |  |  |  | 0.015 | 0.062 |  |  | 0.096 | 0.117 | 5.3 (mouth), 4.1 (nose)
Poland |  | ZGH Bolesław (Zinc) | Underground | Active mine during measurement. Closed in 2020 |  |  | Existing | [11 empty] | 0.01 - 2.7 | µJ/m3 |  |  | Radiometer RGR-40 | Grab sampling | [9 empty] | 1.4 | mSv/(mJ m-3 h) | Polish Regulation of the Council of Ministers, Pol. Law J. 2021:1657 | 1440 |  | 0 - 5.8 | [36 empty] | The doses were calculated above the background (0.1 μJ/m3) considering the uncertainty (10%).
Poland | - | ZGH Bolesław (Zinc) | Underground | Active mine during measurement. Closed in 2020 | - |  | Existing | - | - | - | - | Track detector LR-115 | continuous 1 month (11 years) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 2.98 | 1,5-4,5 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Ocena narażenia radiacyjnego górników, w wybranych kopalniach metakli nieżelaznych na radon i produkty jego rozpadu (Olszewski J.)
Poland | - | Uranium mine 2 (Uranium) | Underground | Show mine | - |  | Existing | - | - | 4940 +/- 30 | - | - | - | - | - | - | - | 2.5 | 0.1 - 5.0 | µJ/m3 | - | - | RPPSS (ARPANSA, Australia) | Grab sampling | 0.5 | - | 13.7 +/- 2.5 | - | - | - | - | - | - | 1.4 | mSv/(mJ m-3 h) | Polish Regulation of the Council of Ministers, Pol. Law J. 2021:1657 | 756 | 3.0694 | - | - | - | - | - | - | - | Radon Progeny Particle Size Spectrometer (RPPSS) equipped with diffusion screen batteries and impactors | - | - | - | - | - | - | - | - | - |  | - | Mouth breathing (1.2 m3/h): 2.6 (Twomey), 2.6 (Emax); Nose breathing (0.75 m3/h): 2.0 (Twomey), 2.1 (Emax) | APS+SMPS Long (TSI Incorporated, Shoreview, MN, USA) | 0.003 - 20 (Aerodynamic diameter) | 5.8´E+09 | 71 | 29 | 0.01 | <0.001 | - | 0.059 | 2.5 | 0.084 | - |  |  |  |  | Mouth breathing (1.2 m3/h): 3.7; Nose breathing (0.75 m3/h): 3.0
Poland | - | Uranium mine 2 (Uranium) | Underground | Show mine | - |  | Existing | - | 300 | 2950 | 730 - 5290 | Track detectors (CR-39), Radosys (Budapest, Hungary | Continuous: 2 months | - | - | - | - | 4.22 | 1.71 - 7.57 | µJ/m3 | - | - | RGR-40 Radiometer (ICHiTJ, Poland) | Grab sampling | 0.3 (measured) | 0.04 - 0.41 | - | - | - | - | - | - | - | 1.4 | mSv/(mJ m-3 h) | Polish Regulation of the Council of Ministers, Pol. Law J. 2021:1657 | 756 | 5 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | -
Poland | - | Silver mine (Silver) | Underground | Active mine | - |  | Existing | - | - | 5400 +/- 12 | - | - | Grab sampling | - | - | - | - | 6.3 ± 0.3 | - | µJ/m3 | 0.44 | - | RPPSS (ARPANSA, Australia) | Grab sampling | 0.2 (measured) | - | - | - | - | - | - | - | 0.2 | 1.4 | mSv/(mJ m-3 h) | Polish Regulation of the Council of Ministers, Pol. Law J. 2021:1657 | 1350 | 12.285 |  | - | - | - | - | - | - | Radon Progeny Particle Size Spectrometer (RPPSS) equipped with diffusion screen batteries and impactors | - | - | - | - | - | - | - | - | - |  | - | Mouth breathing (1.2 m3/h): 2.5 (Twomey), 2.6 (Emax); Nose breathing (0.75 m3/h): 1.9 (Twomey), 2.0 (Emax) | APS+SMPS Long (TSI Incorporated, Shoreview, MN, USA) | 0.015 - 20 (Aerodynamic diameter) | 2.9´E+08 | 66 | 34 | 0.05 | 0.001 | - | 0.07 | 2.2 | 0.096 | - |  |  |  |  | Mouth breathing (1.2 m3/h): 4.2; Nose breathing (0.75 m3/h): 3.4
Poland | - | Silver mine (Silver) | Underground | Active mine | - |  | Existing | - | 300 | 1020 | 80 - 2280 | Track detectors (CR-39), Radosys (Budapest, Hungary | Continuous: annual average | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.2 | 1.4 | mSv/(mJ m-3 h) | Polish Regulation of the Council of Ministers, Pol. Law J. 2021:1657 | 1350 | 3 | 1 - 4 depending on the season | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | -
Poland | - | KGHM Lubin (copper) | Underground | Mine | - |  | Existing | - | - | - | - | Track detector LR-115 | continuous 1 month (11 years) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 2.19 | 1,5-3,1 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Ocena narażenia radiacyjnego górników, w wybranych kopalniach metakli nieżelaznych na radon i produkty jego rozpadu (Olszewski J.)
Poland | - | KGHM Rudna (copper) | Underground | Mine | - |  | Existing | - | - | - | - | Track detector LR-115 | continuous 1 month (11 years) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1.51 | 1,2-1,9 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Ocena narażenia radiacyjnego górników, w wybranych kopalniach metakli nieżelaznych na radon i produkty jego rozpadu (Olszewski J.)
Poland | - | ZG Trzebionka (zinc and lead) | Underground | Mine (closed) | - |  | Existing | - | - | - | - | Track detector LR-115 | continuous 1 month (11 years) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1.54 | 0,8-2,9 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Ocena narażenia radiacyjnego górników, w wybranych kopalniach metakli nieżelaznych na radon i produkty jego rozpadu (Olszewski J.)
Hungary | - | Urkut (manganese) | underground | Mine | - |  | Existing | - | - | 220 | 110 - 625 | EQF3020 Sarad | grab sampling | - | - | - | - | - | - | - | 0.21 | 0,14-0,26 | - | - | 0.46 | 0,27-0,74 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Dose estimation and radon action level problem due to nanosize radon progeny aerosols in underground manganese ore mine. 2011. N. Kavasi et al.
Hungary | - | Urkut (manganese) | underground | Mine | - |  | Existing | - | - | 530 | 340-820 | EQF3020 Sarad | grab sampling | - | - | - | - | - | - | - | 0.17 | 0,12-0,22 | - | - | 0.36 | 0,21-0,58 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Dose estimation and radon action level problem due to nanosize radon progeny aerosols in underground manganese ore mine. 2011. N. Kavasi et al.
Brazil | - | 6 mines ( agalmatolite, coal, emerald, fluorite, scheelite, tourmaline) uwaga: kopalnie w artykule są zaszyfrowane | underground | mine | - |  | Existing | - | - | - | 113-4964 | AlphaGUARD | grab sampling | - | - | - | - | - | 76-1174 | Bq/m3 (EEC) | - | - | - | - | 0.4 | 0,2-0,7 | - | - | - | - | - | - | - | 9 | nSv(Bqhm-3) | - | 2000 | - | 1-21 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Evaluation of natural radionuclides in Brazilian underground mine. 2015, T.O.Santos et al..
Japan | - | Katamo (uranium) | underground | mine (closed) | - |  | Existing | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.1 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | diffusion battery , mesh made of stainless steel | - | - | - | - | - | - | - | 0.26 | 2 |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon Progeny Size distribution in and around closed uranium mine. K. Ito,et al..
Japan | - | Ningyo-toge (uranium) | underground | mine (closed) | - |  | Existing | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.19 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | diffusion battery , mesh made of stainless steel | - | - | - | - | - | - | - | 0.2 | 2.6 |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon Progeny Size distribution in and around closed uranium mine. K. Ito,et al..
Australia | - | Bamford Hill (wolframite, molybdenite, bismuth) | underground (adit) | mine (closed) | - |  | Existing | - | - | 130 | 120-150 | Track detector CR-39 | continuous (71-92 days) | 300 | 270-960 | Track detector CR-39 | continuous (71-92 days) | 23 | - | Bq/m3 (EEC) | - | - | SARAD EQF3200 | Grab sampling | 0.167 | 0,167-0,176 | 10 | 8-10 | Bq/m3(EEC) | - | EQF3200 | Grab sampling | 0.034 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | The presence and dosimetry of radon and thoron in a hihistorical, undergorund metalliferous mine. 2021. G. Gillmore, et al..
Czech Republic | - | Bozkov Dolomite Caves, Zbrasov Argonite Caves | underground | Show caves | - |  | Existing | - | - | - | 1000-7000 | Track detector LR115, Radim 3 | continous, grab sampling | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon measurements in underground mines and caves from several Europen countries. 2019. AIP Conference Proceedings
Greek | - | Halkidiki (pleistocene cave) | underground | Shov cave | - |  | Existing | - | - | - | 190-88060 | Track detector CA-8015 | continous | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon measurements in underground mines and caves from several Europen countries. 2019. AIP Conference Proceedings
Serbia | - | Trepca mine (lead, zinc, silver) | underground | Mine | - |  | Existing | - | - | 286 | 54-691 | Track detector CRM-510 | continous | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon measurements in underground mines and caves from several Europen countries. 2019. AIP Conference Proceedings
Serbia | - | Stanterg (lead, zinc) | underground | Mine | - |  | Existing | - | - | 302 | - | Track detector CRM-510 | continous | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon measurements in underground mines and caves from several Europen countries. 2019. AIP Conference Proceedings
Serbia | - | Artana (lead, zinc, silver, manganese) | underground | Mine | - |  | Existing | - | - | 191 | - | Track detector CRM-510 | continous | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon measurements in underground mines and caves from several Europen countries. 2019. AIP Conference Proceedings
Serbia | - | Hajvali (lead, zinc) | underground | Mine | - |  | Existing | - | - | 463 | - | Track detector CRM-510 | continous | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon measurements in underground mines and caves from several Europen countries. 2019. AIP Conference Proceedings
Serbia | - | Badovc (lead, zinc, silver) | underground | Mine | - |  | Existing | - | - | 527 | - | Track detector CRM-510 | continous
Poland | - | Podgórze mine (uranium) | underground | Show mine | - |  | Existing | - | - | - | 3000-1015000 | SRDN-3 | grab sampling | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon measurements in underground mines and caves from several Europen countries. 2019. AIP Conference Proceedings
Romania | - | Polovragi | underground | Show Cave | - |  | Existing | - | - | 1530 | 538-2241 | Track detector CR-39 | continous | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon measurements in underground mines and caves from several Europen countries. 2019. AIP Conference Proceedings
Romania | - | Muierilor | underground | Shov Cave | - |  | Existing | - | - | 1265 | 280-2101 | Track detector CR-39 | continous | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon measurements in underground mines and caves from several Europen countries. 2019. AIP Conference Proceedings
Slovenia | - | Postojna cave | underground | Show Cave | - |  | Existing | - | - | - | 1492-4857 | Barasol MC-450/Radim 5 | grab sampling | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon measurements in underground mines and caves from several Europen countries. 2019. AIP Conference Proceedings
Spain | - | Nerja cave | underground | Show Cave | - |  | Existing | - | - | 190 | 8-627 | AlphaGUARD | grab sampling | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon measurements in underground mines and caves from several Europen countries. 2019. AIP Conference Proceedings
Spain | - | Castaran cave | underground | Show Cave | - |  | Existing | - | - | 31100 | 16200-38000 | Radim 5 | grab sampling | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - |  | - | - | - | - | - | - | - | - | - | - | - | - | [5 empty] | Radon measurements in underground mines and caves from several Europen countries. 2019. AIP Conference Proceedings
|  |  | Above ground | Dwellings | Ground floor |  | Planned | [5 empty] | Continuous 1 month |  |  |  | Continuous 1 month |  |  | µJ/m3 |  |  |  | Continuous 1 month |  |  |  |  | µJ/m3 |  |  | Continuous 1 month |  |  | mSv/(mJ×h×m-3) | [5 empty] | mSv/(mJ×h×m-3) | [7 empty] | Please specify ranges: |  |  |  |  | Please specify if any other statistical parameters | [7 empty] | Please specify ranges: |  |  |  |  | Please specify if ny other statistical parameters
|  |  |  | Indoor workplace | Please specify if any other |  | Emergency | [5 empty] | Continuous: 3 months |  |  |  | Continuous: 3 months |  |  | Bq/m3 as Radon Equilibrium Equivalent Concentration |  |  |  | Continuous: 3 months |  |  |  |  | Bq/m3 as Thoron Equilibrium Equivalent Concentration |  |  | Continuous: 3 months |  |  | mSv/(Bq×h×m-3) | [5 empty] | mSv/(Bq×h×m-3) | [7 empty] | Split proposal: | [12 empty] | Split proposal:
|  |  |  | Kindergarten |  |  | Medical | [5 empty] | Continuous: annual average |  |  |  | Continuous: annual average |  |  | Please specify if any other |  |  |  | Continuous: annual average |  |  |  |  | Please specify if any other |  |  | Continuous: annual average |  |  | mSv/WLM | [5 empty] | mSv/WLM
|  |  |  | School | [8 empty] | Please specify if any other |  |  |  | Please specify if any other | [6 empty] | Please specify if any other | [7 empty] | Please specify if any other |  |  | Please specify if any other | [5 empty] | Please specify if any other | [7 empty] | Ultrafine1: <0.01 µm | Ultrafine2: 0.01 - 0.1µm | Fine: 0.1–2.5µm | Coarse: 2.5–10µm | Supercoarse: >10µm | [8 empty] | Ultrafine1: <0.01 µm | Ultrafine2: 0.01 - 0.1µm | Fine: 0.1–2.5µm | Coarse: 2.5–10µm | Supercoarse: >10µm
Show mine
SPA
Water treatment plant
Wine cellar
Working mine
Please specify if any other
0.003 - 20 (Aerodynamic diameter)
Rozporządzenie Rady Ministrów (RRM). 2021c. Rozporządzenie Rady Ministrów z dnia 11 sierpnia 2021 r. w sprawie wskaźników pozwalających na wyznaczenie dawek promieniowania jonizującego stosowanych przy ocenie narażenia na promieniowanie jonizujące. Dz.U. 2021 poz. 1657
Regulation of the Council of Ministers of August 11, 2021 on indicators enabling the determination of ionizing radiation doses used in the assessment of exposure to ionizing radiation (Polish title: Rozporządzenie Rady ministrów z dnia 11 sierpnia 2021 r. w sprawie wskaźników pozwalających na wyznaczenie dawek promieniowania jonizującego stosowanych przy ocenie narażenia na promieniowanie jonizujące). Pol. Law J. 2021:1657